Survey

This survey is used as a preliminary evaluation or requalification of your laboratory services.

Completion and submission of this survey does not constitute an approval of your company as an approved vendor.

Instructions

Please complete this survey in detail.  Answers should reflect your current status.

Not all questions may apply, however, please provide as much information as possible. If not applicable to your business, please complete with “NA”. Requested or additional documents can either be added as an annex or sent as separate documents. If additional information is provided to answer a question, please explain in your answer if this information is annexed or sent as a separate document.

Please note that when asked to foresee comments in the “please explain” section, this also implies explanation in case ‘no’ has been answered.

This assessment will be used by Cerba Research for evaluation purposes only.   All information will be treated as confidential.

Completed surveys can be emailed to: qavendormanagement@cerbaresearch.com

Thank you for taking the time to fill in this questionnaire and please do not hesitate to contact the quality department (qavendormanagement@cerbaresearch.com) if you require any further clarification.

Approval

As an authorized representative of my company I certify this form is complete and accurate:

| Name: |  |
| --- | --- |
| Title: |  |
| Date: |  |
| Signature: |  |

| COMPANY PROFILE INFORMATION |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Company name | Shanghai Outdo Clinic Co., Ltd. |  |  |  |  |  |  |  |
| Website | NA |  |  |  |  |  |  |  |
| Address | Building 15, 908 Ziping Road, |  |  |  |  |  |  |  |
|  | Pudong, |  |  |  |  |  |  |  |
|  | Shanghai China |  |  |  |  |  |  |  |
| QA Main contact point | Linrong Liang |  |  |  |  |  |  |  |
| Function description | Quality Manager (Quality Responsible Person) |  |  |  |  |  |  |  |
| Phone/Mobile No | +86 13902559694 |  |  |  |  |  |  |  |
| E-mail | linrong_liang@shbiochip.com |  |  |  |  |  |  |  |
| Brief description of business | Shanghai Outdo Clinic Co., Ltd. is a wholly-owned subsidiary of Shanghai Outdo Biotech Co., Ltd., established in 2016 and located at Building 15, Lane 908, Ziping Road, Zhoupu Town, Pudong New Area, Shanghai, China. Registered capital is RMB 45.81 million. The site occupies 1,858.94 m², of which 892.29 m² is laboratory space. The company is an independent legal entity and a for-profit joint-stock medical institution. It provides medical laboratory and pathology services in clinical microbiology, pathology and clinical cytomolecular diagnostics, and has established its quality management system in accordance with CNAS-CL02:2023 Medical laboratories — Requirements for quality and competence (ISO 15189:2022, IDT) and related accreditation criteria. |  |  |  |  |  |  |  |
| How long has your company been providing services to the biotech/pharma industry supporting clinical trials? | Since 2019. |  |  |  |  |  |  |  |
| Company operational locations | ☐ Global ☐ Africa ☒ Asia-Pacific ☐ Central & South America ☐ Europe ☐ Middle East ☐ North America |  |  |  |  |  |  |  |
| Please provide areas of expertise | ☒ Special Analysis ☒ Safety testing ☐ PK/PD ☒ Processing (aliquoting, PBMC isolation) ☒ Method Validation Other, please specify: clinical pathology diagnostics (IHC & ISH); clinical bacterial culture (Helicobacter pylori culture and antimicrobial susceptibility testing); gut microbiome testing; cell culture and passaging; viral seed-stock preparation; viral titration; ELISA; TCID50. |  |  |  |  |  |  |  |
| Supplemental information relevant to services / testing of provided to CERBA RESEARCH | Services/testing relevant to Cerba Research include: RT-qPCR; sequencing; cell culture; turkey (avian) blood collection; virus culture; virus titration; TCID50; ELISA; EC50. |  |  |  |  |  |  |  |
| Turnover in the last 2 years | RMB 80 million (last two years). |  |  |  |  |  |  |  |
| Number of employees | Quality Staff |  | Lab Staff |  |  | Administration/other |  | IT Staff |
|  | 4 |  | 30 |  |  | 9 |  | 2 |
| Is your company a subsidiary of a parent company? |  |  |  |  | Yes No |  |  |  |
| If Yes, please state the name and address of the parent organization |  |  |  |  |  |  |  |  |
| Shanghai Outdo Biotech Co., Ltd. No. 151 Libing Road, Zhangjiang, Pudong New Area, Shanghai, China. Shanghai Outdo Biotech Co., Ltd. was established in December 2003 and is part of the Shanghai Biochip Co., Ltd. group. It is responsible for operation of the central platform, including the clinical-translation CBDTM paradigm. It is recognized as a national-level Specialized, Refined, Distinctive and Innovative “Little Giant” enterprise and a Shanghai key high-tech enterprise, operating under a dual-driver model with Outdo and the biochip platform. Shanghai Biochip Co., Ltd. was established in August 2001 by Shanghai Science and Technology Venture Capital (Group) Co., Ltd., Shanghai Zhangjiang (Group) Co., Ltd., relevant CAS Shanghai institutes, Shanghai Jiao Tong University and other universities, research institutes, hospitals and enterprises. With NDRC approval it constructs and operates the National Engineering Research Center for Biochip at Shanghai, one of the largest national engineering research centers in China’s biopharmaceutical field. The Center serves as the secretariat and chair organization of the National Technical Committee on Biobanking Standardization (SAC/TC559), the Biobank Branch of the China Medicinal Biotechnology Association, and the Tumor Biospecimen Integration Research Branch of the China Anti-Cancer Association. |  |  |  |  |  |  |  |  |
| List main customers to which you have provided services for in the past two (2) years, preferably in the same area/product range as our current request |  |  |  |  |  |  |  |  |
| Company Name: |  |  |  | Name Contact: |  |  |  |  |
| N/A |  |  |  | N/A |  |  |  |  |
| Have you been inspected by the US FDA or other national regulatory authority? Please provide history of regulatory inspections with associated dates and results/reports |  |  |  | Yes No If Yes, please provide the details below |  |  |  |  |
| Authority |  | Inspection date |  | Overall results/reports/outcome |  |  |  |  |
| NMPA |  | Nov.14th~16th, 2025 |  | Pass, the result/outcome was kept in sponsor and Cerba |  |  |  |  |
| US FDA debarment list (Definition: list of persons and individuals who are debarred, meaning they are effectively forbidden from working in the drug industry) |  | Could you confirm that none of your employees is on the FDA debarment list? |  | Yes No If No, please provide the details below |  |  |  |  |
| Is your company certified or accredited (e.g. ISO15189, CAP or other in line with your services) |  |  |  | Yes No If Yes, please provide the details below |  |  |  |  |
| Standard |  | Certification/ Accreditation body |  | Certified/ accredited since? |  |  | Expiration date |  |
| Please provide the Certificates |  |  |  |  |  |  |  |  |
| ISO 15189 |  | China National Accreditation Service for Conformity Assessment (CNAS) |  | 12 March 2026 |  |  | 10 January 2030 |  |
| Overview of scope of the certification |  |  |  |  |  |  |  |  |
| Products/services |  |  |  |  |  |  | Within scope of certification |  |

| QUALITY SYSTEMS AND PROCEDURES |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Question | ### Yes | ### No | ### N/A | ### Comments/specification |
| ### Do you have a quality management system? |  |  |  | ### ISO 15189. |
| ### If yes, please summarize your QMS Framework | The QMS framework is established in accordance with CNAS-CL02:2023 Medical laboratories — Requirements for quality and competence (ISO 15189:2022, IDT) and CNAS-CL02-A001:2023 Application Requirements of the Accreditation Criteria for the Quality and Competence of Medical Laboratories. The documented system comprises: Quality Manual; procedures (SOPs); work instructions; and related controlled records/forms. |  |  |  |
| Do you have a written Quality Manual available? |  |  |  | Yes. A written Quality Manual is available (ODC-ZLSC Quality Manual). |
| Do you have an independent Quality Assurance department |  |  |  | Yes. An independent Quality Department has been established. |
| Please provide a short description of the QA responsibilities | 1. QMS establishment and maintenance: participate in drafting, review, revision, issuance and retrieval of QMS documents (SOPs, Quality Manual, record templates, etc.); participate in management review and oversee continued effective operation of the system. 2. Training support: assist in organizing quality training (GLP requirements, documentation/record practices, deviation management, etc.) and oversee implementation of personnel training and authorization. 3. Manage nonconforming work, corrective actions, preventive actions and continual improvement. |  |  |  |
| Are your activities/processes covered by approved procedures (Policies, SOPs or work instructions)? |  |  |  | Yes. Activities and processes are covered by approved procedures. Documented ODC-CX-33 Document Control Procedure and ODC-CX-34 Record Management Procedure are in place. Document revision follows a defined process. Corresponding approved procedures, SOPs or work instructions are designed to cover activities, with records retained as evidence of execution. |
| How are documents such as procedures managed at your facility? | Electronic document management system Manual document management system A combination of both N/A |  |  |  |
| How are the SOPs, policies and work instructions created, maintained, and accessed by the personnel? | Creation: drafted by the process-owner department based on applicable regulations, QMS requirements, industry practice and internal experience; reviewed by the department head and Quality Manager and approved by the Laboratory Director before release. Maintenance: reviewed at least annually, or promptly revised upon process change or regulatory update. Each document records revision history and the reason for change. Obsolete versions are archived and clearly identified to prevent unintended use. Access: current paper copies are signed/stamped and issued to departments; electronic copies are stored on a shared server/internal platform with role- and department-based access. Training is provided at onboarding and upon document update, with training records retained. A master list of controlled documents is maintained to ensure traceability. |  |  |  |
| How does the business assure that unintended use of obsolete documents is prevented? | Paper copies: after a new version is released, the document administrator promptly retrieves all obsolete printouts from workstations and laboratories, stamps them “Obsolete”, archives them for the defined period and then destroys them. Electronic copies: all controlled documents are stored centrally on the server; after a new version is released the previous version is superseded and ordinary users cannot access or download it. Internal audits include workplace checks to confirm that no uncontrolled or obsolete documents remain at points of use. |  |  |  |
| Are your procedures maintained by a documented revision policy? |  |  |  | Yes. Procedures are maintained under a documented revision policy in ODC-CX-33 Document Control Procedure: To revise a document, the applicant completes a Document Application Form for review by the original reviewer (or the Quality Manager if the original reviewer is unavailable). After Quality Manager approval, the revised draft is reviewed by the original reviewer and approved/released by the designated approver. To add a document, the applicant completes a Document Application Form; after approval the drafting–review–approval–release process is followed. The document administrator updates the Document Control List and the Document Issue and Retrieval Register. Handwritten alteration of QMS documents is not permitted. Changes shall be recorded on the revision page with the approver identified. When a document is reissued, Quality retrieves and destroys the previous version. After periodic review, the document administrator prepares the Annual Document Review Record for approval, then arranges revision. |
| Please describe the implemented Good documentation Practices | Good Documentation Practices are implemented under ODC-CX-33 Document Control Procedure, including: Document control status: controlled / uncontrolled / obsolete copies are stamped accordingly to prevent misuse. Unique identification: documents are numbered as Company abbreviation–category–serial number; record forms add “R + sequence”. Version control: version letters A/B/C… and revision numbers 0/1/2…; a version increment is required after nine revisions. Segregation of review and approval: designated reviewers and approvers sign at defined document levels. Defined interval between approval date and effective date. Periodic review before the annual internal audit, with revision as needed. Record-entry rules: blue/black ink; corrections by single-line strikethrough with signature (no correction fluid), consistent with ALCOA+ / GCP documentation expectations. Archive protection against mould, insects, rodents and fire; electronic and paper records are regarded as equivalent. Defined retention periods (e.g. laboratory raw data 6 years; tumour molecular testing records 20 years; clinical-trial records per customer/regulatory requirement). Controlled destruction: expiry destruction requires application/approval, a destruction record and confidential handling. |  |  |  |
| Provide the following documents: | ☐ Quality Manual ☐ Organizational chart of the company ☐ Floor plan ☐ Cover page from an effective SOP/Procedure/Work instruction ☐ List of current Policies, Standard operation procedures (SOPs) and/or work instructions ☐ Policy or SOP on change management ☐ Template used for validation plan & reports. |  |  |  |

| FACILITIES MANAGEMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Question | ### Yes | ### No | ### N/A | ### Comments/specification |
| Does the business have physical facility security (access controls and alarms, fire alarms etc.) |  |  |  | Yes. Per ODC-CX-10 Facility and Environmental Management Procedure, the site is equipped with safety facilities and equipment, including emergency evacuation devices and alarm systems, emergency showers and eyewash stations, with periodic functional verification. Access to critical areas is restricted: laboratory staff enter by access card or fingerprint; other persons enter only with authorization. Smoking is prohibited throughout the premises. The safety administrator maintains fire-fighting equipment and checks its effectiveness regularly. |
| Please give an overview of the facility size and structure (one or multiple buildings + main usage etc.) | Per ODC-CX-10 Facility and Environmental Management Procedure, the facility is purpose-designed with zoned areas separated by laboratory-grade fire-resistant boards/partitions of defined height and thickness. Per ODC-AQ-34 Company Risk Assessment and Risk Control SOP, the laboratory is operated at biosafety level 2 (BSL-2). Principal use is medical laboratory testing, including throat swabs, gastric mucosa and other specimen types. Per ODC-AQ-42 Pest Control SOP, pest-control coverage includes the laboratory perimeter, open areas and laboratory rooms. Total site area is 1,858.94 m², of which 892.29 m² is laboratory space (see company profile). |  |  |  |
| Does the business have pest control and related contracts? |  |  |  | Yes. Pest control is defined in ODC-AQ-42 Pest Control SOP. The General Administration Department prepares the pest-control plan and oversees completion; routine in-house pest-control activities are performed by that department. |
| Are facilities regularly inspected related to pest control and is this documented? |  |  |  | Yes. Per ODC-AQ-42 Pest Control SOP, internal pest/rodent control is performed monthly. Glue-board locations are fixed, kept clean and cleared of carcasses and debris. Placement locations and quantities are documented on ODC-AQ-42-R01 Pest and Rodent Control Record. |
| Is there control of temperature and humidity in the facility and is this documented? |  |  |  | Yes. Per ODC-CX-10 Facility and Environmental Management Procedure, testing areas with temperature or humidity requirements are equipped with thermometers/hygrometers. On-duty laboratory staff record temperature/humidity daily. Freezers/refrigerators used for reagents or samples, incubators and similar equipment have thermometers or probes. A designated person, assigned by the Laboratory Director, records temperatures and checks the monitoring system. Records are kept on ODC-CX-10-R01 Indoor Temperature and Humidity Record. |
| What actions are taken in case temperature/humidity is out of specs? | Per ODC-CX-10 Facility and Environmental Management Procedure: when temperature or humidity is out of specification, prompt adjustment is required (HVAC for temperature; dehumidifier if humidity is high; humidifier if humidity is low). If specification cannot be restored, the departmental equipment administrator is notified to arrange maintenance; testing is stopped during repair and ODC-CX-29 Nonconformity Identification and Control Procedure is executed. For reagent/sample storage units, incubators and similar equipment, stored materials are transferred to qualified units during repair. Upon detecting an excursion, the Laboratory Director is notified immediately; the quality supervisor completes the Facility and Environment Out-of-Control and Handling Record. If result quality may be affected, testing is stopped and the nonconformity procedure is applied. |  |  |  |
| Does the business have back-up power generators? |  |  |  | No dedicated back-up generator is installed. Dual-feed electrical supply is available (manual switchover, not automatic). Five UPS units are connected to critical equipment. |
| If yes, are they tested on a regular basis and are the results documented? |  |  |  | N/A for generators (none installed). Electrical installations are periodically maintained by qualified electrical personnel per the Electrical Safety Standard. UPS maintenance is documented on ODC-AQ-27-R01 UPS Maintenance Record and ODC-AQ-27-R02 UPS Maintenance Plan. |
| Does your company have a business continuity/disaster recovery plan? |  |  |  | Yes. Per ODC-CX-10 Facility and Environmental Management Procedure, emergency measures are defined for unexpected water or power interruption. A laboratory safety risk assessment is performed annually and is re-performed when facilities change. Per ODC-CX-32 Emergency Preparedness Procedure, the General Administration Department prepares the internal Emergency Drill Plan each January for approval by the Laboratory Director. |
| If yes, is it tested on a regular basis and are the results documented? | Yes, drills are performed and documented: ODC-CX-32-R01 Emergency Drill Plan; ODC-CX-32-R02 Emergency Drill Record (materials, participants, timing, process and recording method are planned in advance; after the drill the form is completed and reviewed by the safety responsible person before archiving). |  |  |  |
| Has a risk-based approach been taken related to the business continuity/disaster recovery plan(s) and is this documented? |  |  |  | Yes. Business continuity / disaster-recovery arrangements are linked to a documented, risk-based approach: an annual laboratory safety risk assessment is performed, and re-assessment is required when facilities change, with reference to ODC-CX-08 Risk Management Procedure (ODC-CX-10). Emergency preparedness and drills are planned and recorded under ODC-CX-32. |

| TRAINING |  |  |  |  |
| --- | --- | --- | --- | --- |
| Question | Yes | No | N/A | Comments/specification |
| Are there up-to-date job descriptions and CV’s available for all personnel? |  |  |  | Yes. Up-to-date job descriptions and CVs are maintained for all personnel under ODC-CX-09 Human Resource Management Procedure and are available upon request. |
| Which of the following trainings are provided to the staff? | GLP training GCP/GCLP training GDPR/Data Protection Act training — confidentiality is managed under ODC-CX-04 Confidentiality Management Procedure GMP training HIPAA training Good Documentation Practice training |  |  |  |
| Does your company have a general training process in place? |  |  |  | Yes. A documented general training process is in place under ODC-CX-09 Human Resource Management Procedure. |
| Please explain the overall training process (e.g. instructor led training On the Job Training, eLearning; Self-Train, external training)? | Per ODC-CX-09 Human Resource Management Procedure, training is delivered by lecture, reading/self-study, other methods (e.g. online meetings) and external training. The laboratory training plan is compiled, checked, approved and posted by the document administrator; training notices are issued in advance; attendance, materials and personnel training histories are maintained. After training, the trainer conducts assessment and submits training records. The safety responsible person periodically organizes safety training and emergency drills. Unplanned internal/external training requires stepwise approval; effectiveness evaluation is performed after external training. |  |  |  |
| Does your company have a function specific training procedure in place? |  |  |  | ODC-CX-09 Human Resource Management Procedure |
| Please explain the function specific training process (e.g. instructor led training On the Job Training, eLearning; Self-Train, external training)? | Pursuant to ODC-CX-09 Human Resource Management Procedure, training is delivered via lectures, self-study, online sessions and external training. The document controller compiles, reviews, approves and releases training plans, manages attendance and training files. Absentees shall notify in advance. Trainers conduct post-training assessments and archive records. The safety lead holds regular safety training and emergency drills. Unplanned internal/external training requires hierarchical approval. Post external-training effectiveness evaluation and archiving are mandatory. Staff missing training shall receive make-up training and assessment. |  |  |  |
| Is employee training documented and are these records maintained? |  |  |  | Pursuant to ODC-CX-09 Human Resource Management Procedure: - Upon completion of each training session, the document controller shall verify the completeness of the Attendance Sheet and Training Record, file them by category, and update the Employee Training and Continuing Education History Record. - After external training / conference participation, the attendee shall submit the External Training Application & Approval Form. The quality department together with the professional team lead shall conduct training effectiveness evaluation. After archiving, the Employee Training and Continuing Education History Record shall be updated synchronously. - Records shall be retained in personnel files for 25 years in accordance with ODC-CX-34 Record Management Procedure. Hard-copy original documents shall be archived to the records room on an annual basis. |
| How are these records retained? | Records are retained in personnel files for 25 years in accordance with ODC-CX-34 Record Management Procedure. Hard-copy original documents shall be archived to the records room on an annual basis. |  |  |  |
| How long are training records retained? | Training records shall be kept for 25 years. |  |  |  |
| Is employee training conducted on a continuing basis? |  |  |  | Per ODC-CX-09 Human Resource Management Procedure, the Quality Department organizes monthly training. |
| How often do employees receive retraining, and how is it initiated? | New employees receive ≥2 competency assessments within the first 6 months with records. Retraining and reassessment are triggered by role changes, return after >6-month leave, or updates of policies/procedures/technologies. Failed staff need retraining and reassessment; only qualified personnel can resume work. |  |  |  |
| If contract personnel (interim, consultants) are employed, are training requirements equivalent to full time employees? |  |  |  | No contracted, temporary staff or consultants are recruited. |
| Will CVs, job classifications, and training records be accessible upon request? |  |  |  | Pursuant to ODC-CX-09 Human Resource Management Procedure, the Administrative and HR Department shall maintain the personnel files (including training records) of all active employees. These documents are readily accessible for relevant personnel to review. Therefore, resumes, job classification documents and training records can be provided upon request. |

| AUDITING AND VENDOR MANAGEMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Question | Yes | No | N/A | Comments/specification |
| Is a procedure in place for initial vendor/supplier qualification? |  |  |  | Per ODC-CX-16 External Service and Supply Management Procedure, suppliers are added to the Qualified Service Provider and Supplier List after investigation, evaluation and review, with qualification records archived. |
| Is a procedure in place for reassessment/requalification of vendors/suppliers? |  |  |  | In accordance with ODC-CX-16 External Service and Supply Management Procedure, annual supplier evaluation is performed at the beginning of each year. The validity period of qualifications and changes in supplier competence are monitored. Non-conformities identified shall trigger corrective actions. Suppliers who remain non-compliant after rectification shall be disqualified. |
| Are vendors/suppliers reassessed following a risk-based approach? |  |  |  | The laboratory performs risk-based reassessment for suppliers and contracted labs. Assessment frequencies and triggers are determined by their impact on test quality and performance, as defined in ODC-CX-16 External Service and Supply Management Procedure. |
| Are vendor/supplier audits performed? |  |  |  | Supplier review is conducted at least annually per ODC-CX-16 External Service and Supply Management Procedure , with ODC-CX-16-R03 Supplier Investigation and Review Form filled out. |
| How frequent are vendors/suppliers evaluated? | The document ODC-CX-16 External Service and Supply Management Procedure specifies that the periodic review shall be conducted once a year. |  |  |  |
| Are internal audits performed? |  |  |  | Internal audits are performed per ODC-CX-39 Internal Audit Procedure. |
| Are internal audits planned and performed following a risk-based approach? |  |  |  | Per ODC-CX-39, audits are planned according to departmental criticality and prior audit results. Higher intensity and frequency are assigned to high-risk departments or those with many non-conformities. Audits focus on areas critical to service recipients (Clause 4.3.5, 4.6.1), adopting a risk-based planning and execution method. |
| Is an external audit program in place? |  |  |  | No external audit plan is established.It’s generally decided by sponsors’plans. |

| INCIDENT, CAPA & COMPLAINT MANAGEMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Question | Yes | No | N/A | Comments/specification |
| Do you have an incident and deviation management system in place? |  |  |  | The event and deviation management system is established under ODC-CX-29 Nonconformity Identification and Control Procedure and ODC-CX-08 Risk Management Procedure, covering identification, recording and handling of events and deviations. |
| What is your follow-up process for incidents and deviations? | Per ODC-CX-37, the process: Identification-> root cause investigation-> corrective action development-> approval-> implementation-> effectiveness verification-> record archiving -> input to management review. |  |  |  |
| Do you have a (external) complaint management system in place? |  |  |  | ODC-CX-31 Complaint Management Procedure is implemented for receipt, handling, response and follow-up verification of internal and external complaints. |
| What is your follow-up process for complaints? | Per ODC-CX-31: Receive & record-> assign responsible department-> investigate-> classify valid/invalid complaints-> develop corrective actions-> obtain approval-> respond to customer-> follow up-> perform statistical analysis-> identify improvement opportunities. |  |  |  |
| Are documented procedures in place for incident, deviation and complaint handling? |  |  |  | Written procedures are available, including ODC-CX-37 Corrective Action Control Procedure, ODC-CX-31 Complaint Management Procedure, ODC-CX-29 Nonconformity Identification and Control Procedure, etc. |
| Are risks being assessed for incident, deviation and complaint handling? |  |  |  | ODC-CX-31 requires risk factor analysis and ODC-CX-08 is followed. Nonconformities/corrective actions and complaints are listed as risk sources in the risk identification register. |
| Are CAPA (corrective actions and preventative actions) recorded and followed up? |  |  |  | ODC-CX-37 Corrective Action Control Procedure requires filling out the Nonconformity and Corrective Action Record. The records will be archived after approval, implementation and effectiveness verification. |
| Does your company provide investigation reports? |  |  |  | Investigations are initiated in accordance with ODC-CX-37 Corrective Action Control Procedure, and the Nonconformity and Corrective Action Record will be generated, including root cause analysis, impact assessment, CAPA and recurrence prevention measures.For complaints, records are maintained in the Complaint Handling Form under ODC-CX-31 Complaint Management Procedure. |
| How are CAPA related to investigation reports communicated? What are the timelines for providing a final investigation report? | Per ODC-CX-31 Complaint Management Procedure: The responsible department fills in the Complaint Handling Form. Quality and technical supervisors review the root cause analysis and corrective actions. After review and approval, the form shall be issued to quality department and customer service will respond to the client . The quality department follows up and verifies the implementation status. All complaint handling shall generally be completed within 3 working days. Complex complaints may be appropriately extended. General complaints require a 4-hour initial response; major complaints require a 1-hour initial response. Per ODC-CX-37 Corrective Action Control Procedure: The responsible department/specialist develops corrective actions. For general events, actions are approved by the department head. Actions requiring substantial resource investment or with major impact are approved by the general manager. For cross-department matters, the quality supervisor coordinates and monitors progress.The Nonconformity and Corrective Action Record shall be completed within the scheduled time frame. Per ODC-CX-39 Internal Audit Procedure, auditors distribute the Nonconformity and Corrective Action Record to responsible departments. The responsible department analyzes causes, proposes corrective actions and deadlines, and implements them upon approval by the quality manager. Auditors follow up to verify effectiveness. Unresolved items are reported to the audit lead. Items that cannot be completed are escalated to management for decision-making.Internal audit reports shall be prepared by the Quality Manager and issued upon approval by the Laboratory Director. |  |  |  |

| DOCUMENT AND DATA INTEGRITY/RETENTION AND ARCHIVING |  |  |  |  |
| --- | --- | --- | --- | --- |
| Question | Yes | No | N/A | Comments/specification |
| How is record keeping performed? | Electronic paper-based electronic and paper-based |  |  |  |
| Do you have a record retention plan/procedure? | d |  |  | ODC-CX-34 Record Management Procedure defines full lifecycle management: identification, entry, archiving, retention, retrieval and destruction. |
| Please provide the retention period for your documentation. If this is different for specific types of documents, please provide details. | Retention periods differ by types. All pharmaceutical clinical trial records: 25 years (or per customer requirement). |  |  |  |
| Are records stored in a manner that will protect their integrity for the required time period? |  |  |  | Per ODC-CX-34 Record Management Procedure , records are stored in a suitable environment (mildew/insect/rodent/fire protection). Electronic records are backed up following Computer Hardware and Software Management Procedure. Temporary files are timely deleted to avoid loss, damage or unauthorized changes. |
| Do you have a management system in place for archiving? |  |  |  | A complete archive management system is established under ODC-CX-34 Record Management Procedure. Annual records are archived in first quarter of next year. The Record Archiving Registration Form is completed and the Archiving Record List is updated. Each professional team performs classified binding. The archive administrator signs for acceptance. |
| Are records retained in the facility or stored at an external archiving facility? |  |  |  | Records are kept in-house. Per ODC-CX-34, records are maintained by departments/teams, temporarily stored locally and periodically transferred to laboratory archives. |
| Are records stored at an internal archive? |  |  |  | Per ODC-CX-34 Record Management Procedure, records are archived in the laboratory’s internal archive repository and managed uniformly by document or information administrators. |
| Are records stored at an external archiving facility? |  |  |  | Records are NOT stored at external archive organizations. |
| Has the external archiving facility been audited by a company representative? |  |  |  | NA |
| Does your business manage confidentiality and privacy for subject related data? |  |  |  | ODC-CX-04 Confidentiality Management Procedure is established, which specifies protection of patients’ personal information, test results, test data and other confidential information. All staff are required to sign Confidentiality Agreements. |
| How is confidentiality and privacy assured? | In accordance with ODC-CX-04 Confidentiality Management Procedure, protection measures include: - All internal and external personnel sign Confidentiality Agreements. - Information classification and authorization are implemented; unauthorized personnel shall not access confidential information. - Computer information encryption and access control are applied; internet access is prohibited without approval. - Non-relevant personnel are restricted from entering the testing area. Visitors shall register when entering and exiting. - Customers are not allowed to observe unrelated tests or take photos/videos. - Confidentiality compliance checks are performed quarterly by the General Manager or Quality Lead. |  |  |  |
| Are data changes documented in the used systems (i.e., audit trail) including editing trail with date/time stamping? |  |  |  | Not applicable to this project. The LIS system is not involved. The ABI 7500 PCR instrument and ABI 3500DX sequencer used for experiments are equipped with audit trail functions. |
| Does the business have computer-generated, time-stamped audit trails to track creation, modification and deletion of records that describe when, by whom and the reason changes were made, and original information is not obscured through the use of the audit trail? |  |  |  | Not applicable to this project. The LIS system is not used. |
| How long can data be electronically stored in and retrieved from the system? | Not applicable to this project. The LIS system is not used. |  |  |  |

| CHANGE MANAGEMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Question | ### Yes | ### No | ### N/A | ### Comments/specification |
| Is there a procedure in place for change management? |  |  |  | Yes. Change control is implemented across multiple controlled procedures covering documents (ODC-CX-33 Document Control Procedure), examination procedures (ODC-CX-20 Selection, Verification and Validation of Examination Procedures), IT systems (ODC-CX-30 Computer Hardware and Software Management Procedure), personnel (ODC-CX-09 Human Resource Management Procedure) and reagents/suppliers (ODC-CX-14 Reagent and Consumable Management Procedure). |
| Is a risk-based approach implemented during the change management process? |  |  |  | Yes, a risk-based approach is applied in practice, although not always labelled as such in every SOP. Examples: personnel/role changes require revision and approval of job descriptions; accreditation-related changes are notified to CNAS within 20 working days; retraining/reassessment is triggered by role change, return after >6 months’ absence, or policy/procedure/technology change (ODC-CX-09). Facility changes trigger re-assessment against ODC-CX-08 Risk Management Procedure (ODC-CX-10). After equipment repair, return from storage or relocation, verification (calibration, IQC, comparison or retained-sample retest) is selected according to impact on analytical performance (ODC-CX-12). Supplier changes require re-evaluation; new lots require verification before use; quality risk of near-expiry materials is assessed (ODC-CX-14). Examination-procedure changes are approved on an Examination Procedure Change Approval Form; the extent of verification/validation is determined by the impact (new reagent, instrument update, calibrator traceability change, or events severely affecting performance) (ODC-CX-20). |
| Is the change management process implemented throughout the company, relating to all activities (e.g. project changes, IT changes? | Yes. Unified change control is implemented company-wide. Change management is defined in multiple procedures covering documents (ODC-CX-33), examination procedures (ODC-CX-20), IT systems (ODC-CX-30), personnel (ODC-CX-09) and reagent suppliers (ODC-CX-14), including project and IT changes. |  |  |  |
| Are all changes approved before execution? |  |  |  | Yes. Changes are approved by the designated approver before execution, per ODC-CX-33 Document Control Procedure, ODC-CX-20 Selection, Verification and Validation of Examination Procedures, and ODC-CX-30 Computer Hardware and Software Management Procedure. |
| Are all changes managed in a system? |  |  |  | Partially. Computerized-system changes are managed with defined electronic/controlled forms under ODC-CX-30 (software go-live/authorization: Computer Software Validation Record; new/changed tests: System New Test Application and Test Information Change Record; access rights: Information System Access Rights Record; database changes: Database Server Maintenance/Upgrade Record). Reagent procurement and inventory use OA and an intelligent reagent/consumable system (ODC-CX-14). Examination-procedure change requests and new-project reagent purchases are raised in OA (ODC-CX-20). Paper forms remain in use for UPS maintenance, breakdown repair, workstation rounds, HR files/training/competency, facility environmental records, equipment acceptance/maintenance/calibration, reagent QC/return, performance verification reports, and document issue/retrieval/destruction. Not all changes are managed in a single electronic system. |
| Is an effectiveness review performed after finalization of changes? |  |  |  | Yes. Effectiveness is reviewed after changes, including: retraining and reassessment of personnel before return to duty after role change, prolonged absence or procedure/technology change (ODC-CX-09); re-assessment of laboratory safety risk after facility change, with tracking of environmental excursions (ODC-CX-10); authorization to use equipment only after application/review/approval and performance verification following repair, storage or transfer (ODC-CX-12); supplier re-qualification and lot verification before use (ODC-CX-14); re-verification/validation after examination-procedure change (ODC-CX-20); software testing and Laboratory Director confirmation before go-live (ODC-CX-30); and document review/approval before release (ODC-CX-33). |
| Are clients informed about changes impacting their services? |  |  |  | Accreditation-related changes are notified to CNAS within 20 working days (ODC-CX-09). Changes affecting examination procedures, equipment, reagents, IT systems or authorized personnel are controlled under the procedures above and are subject to approval and post-change verification. Customer/protocol-specific communication is executed as required by the relevant change, study protocol and quality agreements. |

| SYSTEM VALIDATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Question | ### Yes | ### No | ### N/A | ### Comments/specification |
| Does the business conduct validation of systems to ensure accuracy, reliability, consistent intended performance, and ability to discern invalid or altered records? |  |  |  | Yes. Systems used to generate laboratory data are controlled to ensure accuracy, reliability, consistent intended performance and detection of invalid or altered records. Equipment is qualified/verified before use and after repair (ODC-CX-12). Computerized systems are validated under ODC-CX-30. Paper records use controlled corrections (single-line strikethrough with signature/date annotation), anti-tampering controls and defined retention (clinical-trial records 25 years) to maintain traceability. |
| Is there a procedure for validation and/or qualification of equipment/devices? |  |  |  | Yes. Per ODC-CX-12 Equipment Management Procedure, newly purchased equipment shall complete acceptance and performance verification before use; after repair, equipment shall be verified as satisfactory before return to service. |
| Do you have an equipment failure back-up plan? |  |  |  | Yes. Per ODC-CX-32 Emergency Preparedness Procedure, in the event of instrument failure the supplier provides an equivalent-model replacement as an emergency back-up; the replacement shall complete performance verification before use. |
| Is there a procedure for validation and/or qualification of computerized systems? |  |  |  | Yes. ODC-CX-30 Computer Hardware and Software Management Procedure defines software validation requirements and associated record forms. |
| What type of Risk-Based approach is in place for validation of computer systems? | Per ODC-CX-30 Computer Hardware and Software Management Procedure, validation addresses functionality, performance, usability, compatibility and security. A risk-based approach is used: systems are risk-classified according to their impact on examination quality, patient safety and data integrity, and the scope and depth of validation are determined accordingly (aligned with GAMP 5 principles). |  |  |  |
| Are the computerized systems validated to ensure data integrity? |  |  |  | Yes. Per ODC-CX-30, software validation shall ensure protection of sensitive data and prevent unauthorized access; system additions/changes shall be verified; database backups shall be verified for integrity. Risk-based computerized-system validation focuses on data acquisition, transmission, storage, modification, audit trail, backup/restore and access control to ensure data integrity. |
| Are computerized systems validated - in compliance with GCP/GCLP standards? - in accordance with 21 CFR part 11 compliance? - In accordance with GAMP5 validation? |  |  |  | N/A, unless the relevant system is used for FDA-regulated electronic records/electronic signatures. Where applicable, assessment can be performed according to project requirements. A risk-based computerized-system validation approach is used, referring to GAMP 5 risk-management and validation-lifecycle concepts. Study-related instruments (ABI 7500 PCR and ABI 3500DX sequencer) provide audit-trail functionality; a LIS is not used for this project. |
| Please provide a list of compliant computerized systems (addendum) |  |  |  |  |

| LABORATORY TEST SPECIFIC QUESTIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
| ### Question | ### Yes | ### No | ### N/A | ### Comments/specification |
| ### Samples |  |  |  |  |
| Is there a procedure in place for sample reception? |  |  |  | Yes. ODC-CX-19 Primary Sample Reception and Handling Procedure defines sample reconciliation, receipt, information entry, rejection of unsuitable samples and testing under concession. |
| Can you guarantee complete cold chain custody? |  |  |  | Yes. Per ODC-CX-18 Primary Sample Collection and Transport Procedure, samples are transported in rigid specimen boxes under temperature control, with transport temperature recorded. Receipt includes a transport-temperature check; if temperature is out of control, impact on results is assessed. Storage equipment is covered by a remote real-time temperature/humidity monitoring system (ODC-CX-32); abnormalities are handled immediately. |
| Do your processes describe sample integrity checks? |  |  |  | Yes. Per ODC-CX-19 Primary Sample Reception and Handling Procedure, incoming samples are checked against acceptance criteria, including integrity, identification and collection time. Unsuitable samples are rejected or, after assessment, tested under concession with a documented remark. |
| Do you have a sample identification process (accession labels, bar code, readers, re-labeling,) in place? |  |  |  | Yes. Samples are identified by a unique 12-digit barcode, ensuring traceability from collection, receipt, transfer, distribution and examination through reporting (ODC-CX-19). Pathology reports use the pathology number as the unique identifier (ODC-CX-26 Examination Result Reporting Procedure). |
| Does your company have a procedure for sample storage and retention? |  |  |  | Yes. Post-analysis retention follows ODC-SOP-CRO-01-012 Clinical Research Group Sample Reception and Handling Procedure. Retention of analysed samples complies with the clinical trial protocol, ethics approval and customer requirements, and samples are retained long-term until project completion. |
| Do you have a process in place for sample disposal? |  |  |  | Yes. Per ODC-SOP-CRO-01-019 Clinical Research Group Post-Examination Sample Management Procedure, samples exceeding the retention period are disposed of safely as medical waste by the respective technical groups. |
| Is there a temperature monitoring system? |  |  |  | Yes. Per ODC-CX-32, laboratory storage equipment is equipped with remote real-time temperature/humidity monitoring. Per ODC-CX-10, each technical group performs routine temperature/humidity monitoring and recording according to instrument and reagent requirements; out-of-control conditions are handled immediately. |
| What storage temperatures are offered? | ☒ Room Temperature ☒ 2 – 8 °C ☒ -20 °C ☒ -80 °C ☐ Vapor phase Liquid Nitrogen |  |  |  |
| Is there a system for continuous temperature monitoring of refrigerators / freezers/ rooms/etc.? If yes, is this temperature monitoring system connected to a 24/7 alarm system? |  |  |  | Yes. Per ODC-CX-32 Emergency Preparedness Procedure, storage equipment has remote real-time temperature/humidity monitoring. When equipment failure causes temperature to reach the alarm limit, the system simultaneously sends WeChat alerts to multiple persons, providing 24/7 monitoring and alarm notification. |
| Is there a spill procedure in place? |  |  |  | Yes. Per ODC-CX-10, in the event of contaminant leakage or spillage, all contaminated surfaces (benches, floors, walls, etc.) and air are disinfected according to procedure. Chemical spills are handled per the emergency process in the Safety Manual (ODC-CX-32). |
| ### Equipment used and equipment validations |  |  |  |  |
| Is an equipment database maintained? |  |  |  | Yes. Per ODC-CX-12 Equipment Management Procedure, the laboratory maintains an Equipment List and Equipment Basic Information Register covering identification, manufacturer information, calibration records and maintenance/repair records. Files are managed by the technical groups or the General Administration Department. |
| Please add copy of list of equipment |  |  |  |  |
| Are all lab instruments validated prior to use? |  |  |  | Yes. Per ODC-CX-12, newly purchased equipment shall complete acceptance and performance verification; after repair, verification is required before reuse. Per ODC-CX-20, all examination procedures undergo independent verification before routine use. |
| Are all lab instruments 21CFR Part 11 compliant or evaluated against 21CFR part 11? |  |  |  | Yes. Study-related instruments including the ABI 7500 PCR system, ABI 3500DX sequencer and microplate reader are 21 CFR Part 11 compliant or have been evaluated against 21 CFR Part 11 requirements. |
| Do you have a process in place in case of instrument switch mid-trial? |  |  |  | Yes. Per ODC-CX-32, if an instrument fails mid-study, the supplier provides an equivalent-model replacement as emergency back-up; the replacement shall complete performance verification before use. |
| ### Method validations |  |  |  |  |
| Are there procedures in place for method validation of test(s)? |  |  |  | Yes. ODC-CX-20 Selection, Verification and Validation of Examination Procedures defines requirements for method verification and validation. |
| Please describe your method validation process? | Per ODC-CX-20, the verification/validation process is: prepare a protocol (including performance characteristics and acceptance criteria) → Technical Director approval → implementation by authorized personnel with raw-data retention → draft verification/validation report → technical group leader review → Technical Director approval. |  |  |  |
| Is a validation plan & report available for each test(s)/parameter(s) performed by your lab? |  |  |  | Yes. Per ODC-CX-20, each new examination requires an Analytical Performance Verification Report or Analytical Performance Validation Report, reviewed and approved before implementation. Performance of approved examination procedures is reviewed at least annually. |
| Please explain and add rationale when and when not to validate | Per ODC-CX-20 (ISO 15189 terminology): Verification is performed: before routine use; after events that severely affect analytical performance (e.g. major instrument component failure, relocation, severe environmental loss of control); and when elements of the measuring system change (reagent upgrade, instrument update, change in calibrator traceability, etc.). Validation is required for: non-standard methods; laboratory-developed methods; standard methods used outside their intended scope; and modified validated methods. |  |  |  |
| Upon request, would you be able to provide the validation report(s) for test(s)/parameter(s)? |  |  |  | Yes. Per ODC-CX-20, verification/validation reports are prepared by the test owner, reviewed by the technical group leader, approved by the Technical Director and archived by the document administrator. Reports can be provided upon request. |
| Are there policies in place which state that validation reports cannot be made available to clients/the Trial Master File (TMF)? |  |  |  | To be answered by VCB (Cerba Research). |
| ### Analytical procedures |  |  |  |  |
| Are your SOPs for all test(s)/parameter(s) compliant with GCP/ISO 15189/CAP-CLIA regulations? |  |  |  | Yes. SOPs for tests/parameters are compliant with ISO 15189 requirements (CNAS-CL02:2023 / ISO 15189:2022). |
| Would you provide the method, instrument, specimen requirement, and volume for test(s)/parameter(s)? |  |  |  | Yes. Method, instrument, specimen requirements and volumes are specified in ODC-XMSC Project Manual and the corresponding work instructions (ODC-CX-18 Primary Sample Collection and Transport Procedure; ODC-CX-17 Examination Request Management Procedure). |
| Is a procedure in place for testing revalidation for the test(s)/parameters? |  |  |  | Yes. Re-verification/adjustment is required when: the examination procedure changes (ODC-CX-20); the reagent lot changes (ODC-CX-14); or the QC lot changes, in which case the mean and SD are re-accumulated (ODC-CX-23 Internal Quality Control Procedure). |
| If Yes; How often does this occur? | Examination-procedure change: as needed (event-driven). Reagent lot change: at each lot change. QC lot change: at each lot change (re-evaluation after accumulating 20 days of data). |  |  |  |
| Are you participating in external quality programs for test(s) or parameter(s) performed by your lab? |  |  |  | Yes. Per ODC-CX-24 Proficiency Testing and Interlaboratory Comparison Procedure, the laboratory preferentially participates in PT/EQA schemes organized by the NCCL (National Center for Clinical Laboratories) and the Shanghai Center for Clinical Laboratory. |
| Please explain and add rationale for running External Quality Assessment (EQA) samples and when not. | Per ODC-CX-24: EQA/PT is applicable for examinations that have an available EQA/PT scheme and for newly introduced examinations (new tests preferentially use measurement audit or interlaboratory comparison). Where no PT scheme exists and interlaboratory comparison is not suitable, alternative approaches may be used after authorization and shall be documented. |  |  |  |
| Do you run internal quality controls (IQCs) for test(s)/parameter(s) performed by your lab? |  |  |  | Yes. Per ODC-CX-23 Internal Quality Control Procedure, in principle IQC is performed for all examinations offered; at least one QC determination is run on each testing day or each analytical run. |
| Please explain and add rationale when IQC are used and when not | Per ODC-CX-23, IQC is used for examinations in routine service: at least one QC determination per testing day or analytical run. IQC is not omitted for offered tests except where the documented procedure defines an authorized alternative. |  |  |  |
| Is any analytical instrument directly interfaced with your LIMS? |  |  |  | No. Analytical instruments are not directly interfaced with a LIMS. |
| In what format is the data transferred to Cerba Research/other vendors? | Data are transferred via the Datalink website in PDF and JPG formats. |  |  |  |
| Is there a periodic assessment of the competency of laboratory employees for the analytical procedures? |  |  |  | Yes. Per ODC-CX-09 Human Resource Management Procedure, competency of laboratory personnel for analytical procedures is assessed periodically: Existing staff: at least once per year. New staff: at least two competency assessments within the first 6 months. Assessment covers technical skills and theoretical knowledge; staff who do not pass shall be retrained and reassessed before working independently. Before this project starts, the customer provides study-specific training and competency assessment covering the project method, sample receipt/handling, raw-data recording, compliance requirements and deviation handling. Only personnel authorized after theoretical and practical assessment may perform project testing. If methods or project requirements change, supplementary training and reassessment are arranged. |
| Do you hold any other scientific expertise concerning the requested test(s)? |  |  |  | Yes. The laboratory has end-to-end technical capability for selection, verification and validation of examination procedures, internal QC, proficiency testing and internal comparison (ODC-CX-20, ODC-CX-23, ODC-CX-24, ODC-CX-25). Technical groups include molecular, pathology, microbiology and clinical research (ODC-CX-33 Document Control Procedure). |
| Are you working with other subcontractors for specific tests provided to Cerba Research? |  |  |  | N/A. Subcontractors are not used for tests provided to Cerba Research. |
| If yes, for which tests will subcontractors be used and identify the subcontractors. Cerba Research will need to qualify these subcontractors as well. | Test |  |  | Subcontractor |
|  | N/A |  |  | N/A |
|  | N/A |  |  | N/A |
|  | N/A |  |  | N/A |
|  | N/A |  |  | N/A |